## CAR Form
Corrective Action Report (C.A.R.)
Pioneer Polymers, Inc.
| Customer |  |  | Supplier |  | Internal |  | X | TUV
Regarding: |  |  | Past Due Guage |  | C.A.R. #: | PPI-099
|  |  | Certification |  | Issue Date: | 2008-04-10
Company: |  |  | Pioneer Polymers Inc. |  | Issued By: | Pauline McCusker
Contact: |  |  |  |  | Issued To: | Pierre Marentette
Phone / Fax: |  |  |  |  | Final Due:
Team: |  | Pierre Marentette, Mike Peltier
Problem Description:
Management did not ensure that the corrective action process was effective in addressing the nonconformities raised in the last TUV audit in April 2007. Corrective actions with regards to MSA were found to be either not implemented or ineffective in practise.
Fisher final form guage 2067-RLG-01 was past due as of Feb 08. Other guages appearin the "red" i.e. past due on the guage tracking system.
[5 empty] | Repeat Issue | Yes | No | X
Interim Containment Actions: |  |  |  | None
Define & Verify Root Cause(s):
At the time of the audit, the gauge calibration software was displayed to Pauline, the TUV auditor. She had requested to follow up with the previous audit which had looked at job #23297. These gauges were displayed as having expired gauge certifications. Despite the fact that the job was no longer in operation, the gauges were still being tracked using the software. Although I had good knowledge of the the gauge tracking system, I had not realized that gauges no longer in use could be identified in the program as inactive.
Implement Permanent Corrective Action(s):
The job #23297 is no longer running, and the gauges are considered inactive. They have been removed from the software's list of past due gauges. Other red flagged equipment in the program reflect past due certification for equipment deemed as "lost", such as a couple of sets of vernier calipers. The program also highlitghts a granite table requiring recertification, but that is physically labeled as: "Not to be used for inspection purposes."
Verify Corrective Action(s)
On April 2/08, a quality auditor and I had canvased the plant to look for "out of calibration" fixtures and equipment. All equipment requiring calibration had received it and any equipment no longer in use had been labeled as: "Not to be used for inspection purposes."
Prevent Reoccurrence: The following areas have been revised where applicable:
| FMEA |  | Control Plan | Operator Inst | Inspect Inst | Gauge | Gauge Inst |  | Flow
| Approved |  | Rejected | Signature: |  |  | Date:
Please sign and return. If no reply within 14 days this CAR will be considered closed.
Controlled Copy when in red |  |  |  | May not be latest revision if not red check with master copy